{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Cover","Calculation","Example_Calculation"],"not_rendered":{"charts":4,"images":1,"macros":1,"external_links":0,"defined_names":22,"comments":2,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Cover","index":0,"n_rows":7,"n_cols":6,"rows_kept":7,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,null,null,null,"Author:","Francisco Arregui"]
[null,null,null,null,"Version:","2016-08-02"]
[null,null,null,null,"Contact","farregui @ ita.upv.es"]
[]
[null,"www.ita.upv.es"]

{"sheet":"Calculation","index":1,"n_rows":33,"n_cols":21,"rows_kept":33,"cut":false,"hidden":false,"merged":[]}
[null,"Copyright Francisco Arregui - 2016"]
[]
[]
[null,null,"Q1 (L/h)","Q2 (L/h)","Volume (%)",null,null,null,null,null,null,null,null,null,"Q (L/h)","Error (%)"]
[null,null,0,5,1.287181704737495E-2,null,null,null,null,null,null,null,null,null,14.895,-5.2408564228906559E-16]
[null,null,{"$f":"+IF(D6=\"\",\"\",D5)","v":5},13,2.7928681236446703E-2,null,null,null,null,null,null,null,null,null,30.197468354430381,1.0060362173037646E-2]
[null,null,{"$f":"+IF(D7=\"\",\"\",D6)","v":13},20,1.425027535834098E-2,null,null,null,null,null,null,null,null,null,61.902439024390233,1.7051153460384796E-2]
[null,null,20,40,2.0883923075495841E-2,null,null,null,null,null,null,null,null,null,121.00334448160537,1.2935323383081287E-2]
[null,null,40,90,3.750184537340797E-2,null,null,null,null,null,null,null,null,null,444.74576271186442,8.2317073170733637E-3]
[null,null,90,250,8.7166451408461756E-2,null,null,null,null,null,null,null,null,null,1486.597077244259,-6.572295247724532E-4]
[null,null,250,1000,0.73686058341804295,null,null,null,null,null,null,null,null,null,2603.7818181818184,-5.5304172951238248E-3]
[null,null,1000,2000,4.5610352481171845E-2,null,null,null,null,null,null,null,null,null,3911.086956521739,-8.8044022011006078E-3]
[null,null,2000,2500,4.0542535538819419E-3,null,null,null,null,null,null,null,null,null,5344.4117647058829,-1.1688954928181998E-2]
[null,null,2500,3500,1.287181704737495E-2,null,null,null,null,null,null,null,null,null,5344.4117647058829,-1.1193660227835345E-2]
[null,null,""]
[null,null,""]
[null,null,""]
[null,null,""]
[null,null,""]
[null,null,""]
[]
[null,null,null,null,{"$f":"+SUM(E5:E20)","v":0.99999999999999989},null,null,null,null,null,null,null,null,null,"Metrological Class"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"R",80,null,"Chart limits"]
[null,null,null,null,null,null,null,null,null,null,null,{"$f":"+$P$26*1/$P$23","v":50},-0.05,{"$f":"+M24*-1","v":0.05},"Q1 (L/h)",{"$f":"+L24","v":50},null,"Xmax",10000,"Ymax",-0.2]
[null,null,null,null,null,null,null,null,null,null,null,{"$f":"+$P$26*1/$P$23*1.6","v":80},-0.05,{"$f":"+M25*-1","v":0.05},"Q2 (L/h)",{"$f":"+L25","v":80},null,"Xmin",1,"Ymin",0.2]
[null,null,null,null,null,null,null,null,null,null,null,{"$f":"+$P$26*1/$P$23*1.6","v":80},-0.02,0.02,"Q3 (L/h)",4000]
[null,null,null,null,null,null,null,null,null,null,null,{"$f":"+$P$26*1.25*1","v":5000},-0.02,0.02,"Q4 (L/h)",{"$f":"+L27","v":5000}]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Qstart (L/h)",2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Qarr_err (%)",-0.2]
[]
[]
[null,null,"Weighted error",null,-2.3279250907160555E-3,null,null,null,null,null,null,null,null,null,null,{"$f":"+$P$26*1.25*1000","v":5000000}]

{"sheet":"Example_Calculation","index":2,"n_rows":33,"n_cols":19,"rows_kept":33,"cut":false,"hidden":false,"merged":[]}
[null,"Example",null,null,"Copyright Francisco Arregui - 2016"]
[]
[]
[null,null,"Q1 (L/h)","Q2 (L/h)","Volume (%)",null,null,null,null,null,null,null,null,null,"Q (L/h)","Error (%)"]
[null,null,0,5,0.04,null,null,null,null,null,null,null,null,null,15,-0.3]
[null,null,{"$f":"+IF(D6=\"\",\"\",D5)","v":5},10,0.03,null,null,null,null,null,null,null,null,null,30,-0.06]
[null,null,{"$f":"+IF(D7=\"\",\"\",D6)","v":10},20,0.02,null,null,null,null,null,null,null,null,null,60,1.4999999999999999E-2]
[null,null,20,30,0.01,null,null,null,null,null,null,null,null,null,120,0.01]
[null,null,30,60,0.01,null,null,null,null,null,null,null,null,null,450,-0.01]
[null,null,60,120,0.02,null,null,null,null,null,null,null,null,null,750,-5.0000000000000001E-3]
[null,null,120,450,0.27,null,null,null,null,null,null,null,null,null,1500,-5.0000000000000001E-3]
[null,null,450,1000,0.4,null,null,null,null,null,null,null,null,null,2250,-0.01]
[null,null,1000,1500,0.15,null,null,null,null,null,null,null,null,null,3000,-0.01]
[null,null,1500,3000,0.05]
[null,null,""]
[null,null,""]
[null,null,""]
[null,null,""]
[null,null,""]
[null,null,""]
[]
[null,null,null,null,{"$f":"+SUM(E5:E20)","v":1},null,null,null,null,null,null,null,null,null,"Metrological Class"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"R",63]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Q1 (L/h)",{"$f":"+Q24","v":39.682539682539684},{"$f":"+$P$26*1/$P$23","v":39.682539682539684},-0.05,{"$f":"+R24*-1","v":0.05}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Q2 (L/h)",{"$f":"+Q25","v":63.492063492063494},{"$f":"+$P$26*1/$P$23*1.6","v":63.492063492063494},-0.05,{"$f":"+R25*-1","v":0.05}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Q3 (L/h)",2500,{"$f":"+$P$26*1/$P$23*1.6","v":63.492063492063494},-0.02,0.02]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Q4 (L/h)",{"$f":"+Q27","v":3125},{"$f":"+$P$26*1.25*1","v":3125},-0.02,0.02]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Qstart (L/h)",2]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Qarr_err (%)",-0.7]
[]
[]
[null,null,"Weighted error",null,-5.9092532051281982E-2,null,null,null,null,null,null,null,null,null,null,{"$f":"+$P$26*1.25*1000","v":3125000}]