## Main
AC-cost | The sole responsibility for the content of this publication lies with the authors. It does not represent the opinion of the European Communities. The European Commission is not responsible for any use that may be made of the information contained therein. | Only for air conditioning systems | 2026-07-30
This tool will allow you to estimate your AC running costs and to assess the effects on these costs of some energy saving measures in two steps. Please follow the instructions in the green cells, fill the blue cells, the yellow cells will show the results of the calculation. When you have finished, before to begin another calculation please reset and renter the parameters. First step: define what are the running cost of the present equipment Fill the blue cells with information about your present system
Present plant and calculation characteristics
Conditioned area (m²)
Default Discount rate for the future costs | 8%
Climate (choice an item from the list) | [7 empty] | 0
System type (choice an item from the list)
Do you know the Installed cooling capacity (kW)?
The system includes a wet tower condenser? (y/n)
In which year the present plant has been installed?
Plant age | 2026
In which year do you plan to stop the existing plant for complete renovation ?** |  | Number of years used for calculation | -2006
**If you don't have planned any date for renovation a default plant lifetime is used (20 years) | 20
What was the initial cost of the plant (€)?
Years | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Running costs calculation for the present plant
Years | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39
Energy costs(€/year)
Water costs (€/year)
Maintenance (€/year)
NPV of the future running costs on x years | 0
Second step: we propose a certain number of measures in order to calculate possible savings, choose one or more projects you can implement on your system to improve its efficiency or reduce its consumption and follow the instructions in the green cells in order to calculate the NPV of the future running cost and the subsequent savings.
Project 1: Replacement with same capacity equipment better efficiency
Do you know the EER of the present equipment**? If unknown a default value can be obtained clicking here
Do you know the EER of the new equipment**? If unknown a default value can be obtained clicking here
Years | -2006
Additional investment (€): if you don't know this value it will be automatically estimated
Actualised running costs of project 1 | 0
Total actualised Savings on x years including the new investment paying off (€) on 20 years | 0 | Average Savings for running costs (€/year) | 0 | Average savings for running costs (% per year) | 0%
Energy
Water
Maintenance
Pay back time (=20 if higher than 20 years) | 0
Project 2 replacement with lower capacity equipment
Capacity reduction (%)
Do you know the EER of the present equipment**? If unknown a default value can be obtained clicking here
Do you know the EER of the new equipment**? If unknown a default value can be obtained clicking here
Years
Additional investment (€): if you don't know this value it will be automatically estimated
Actualised running costs of project 2 | 0
Total actualised Savings on x years including the new investment paying off (€) on 20 years | 0 | Average Savingsfor running costs (€/year) | 0 | Average savings for running costs (% per year) | 0%
Energy
Water
Mainetenance
Pay back time (=20 if higher than 20 years) | 0
Total actualised Savings on 14 years
Years | -2006
Additional investment (€): if you don't know this value it will be automatically estimated
Actualised running costs of project 3 | 0
Total actualised Savings on x years including the new investment paying off (€) | 0 | Average Savings for running costs (€/year) | 0 | Average savings for running costs (% per year) | 0%
Energy
Water
Mainetenance
Pay back time (=20 if higher than 20 years) | 0
Project 4: add free cooling option
Years | -2006
Additional investment (€): if you don't know this value it will be automatically estimated
Actualised running costs of project 4 | 0
Total actualised Savings on x years including the new investment paying off (€) | 0 | Average Savings (€/year) | 0 | Average savings for running costs (% per year) | 0%
Energy
Water
Mainetenance
Pay back time (=20 if higher than 20 years) | 0
Air Cooled chiller with FCU
Air Cooled chiller with AHU
Air Cooled chiller with AHU (humidity control) |  | Air cooled non reversible non-ducted, basic screw or scroll chiller
Water Cooled chiller with FCU |  | Air cooled reversible, basic screw or scroll chiller
Water Cooled chiller with AHU |  | Water cooled, tower included, scroll, basic chiller
Water Cooled chiller with AHU (humidity control) |  | Groundwater cooled , scroll chiller
Multi Splits |  | Centrifugal chiller, over 700 kW
Outside water cooled chiller with FCU |  | VRF
Outside water cooled chiller with AHU |  | Large Splits
Outside water cooled chiller with AHU (humidity control) |  | Large Air Packages (RT…) with distribution
Packaged |  | Split
RAC |  | Multi Split
Rooftops |  | RAC-Packaged (Air cooled)
VRF |  | RAC-Packaged (Water cooled)
Single Duct |  | Single Duct
Small packages
Splits
Two loops chiller (FCU)
None of this
It is not always possible to convert a constant volume system to a variable volume one, check preliminarily if you can
**You can check or obtain the EER of the present and new equipment from the Eurovent database clicking here in the Consultants tab:
http://www.eurovent-certification.com/
or if the system is not included in the certified products you can find default values in the AuditAC technical guide 6!
**You can lower your system capacity if the present equipment is oversized or if you implement an action to reduce the cooling load (lighting improvement, add solar shading etc.) You can check or obtain the EER of the present and new equipment from the Eurovent database clicking here in the Consultants tab: http://www.eurovent-certification.com/
or if the system is not included in the certified products you can find default values in the AuditAC technical guide 6!

## Calcul (hidden)
AC costs | only for cooling systems | Today | 2026-07-30
Installed cooling capacity (kW)
Conditioned area (m²) | 0 | Climate (choice an item from the list) | 0 |  |  | 0
Discount rate Plant | 8%
Initial plant | Type (liste of choice): | 0
Year of installation | 0
Existing Years | 2026 | 1899
years before renovations | 0 | -2006 | Period of calculation
Conventional or design plant lifetime | 20
Initial Investment (€) | 0
Years | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Years | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy costs(€/year) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water costs (€/year) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maintenance (€/year) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV of future costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Project 1: Replacement with same capacity chiller better efficiency | Total actualised Savings € |  | Savings per year €/year |  | Saving %/year
Existent system SEER or EER | 0 | Do you know the EER of the new equipment**? If unknown a default value can be obtained clicking here | 0
# years | -2006
Additional investment (€) | 0
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Years | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0
0
0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV of project 1 | 0
14 to 17
Pay back time
Project 3: convert CAV to VAV | Total actualised Savings € |  | Savings per year €/year |  | Saving %/year
Climate | 0
# years | -2006
Additional investment (€) | 0
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Years | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0
0
0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| -18788.8667 | -14773.5988 | -10964.8248 | -7358.7254 | -3951.0327 | -737.1173 | 2287.9342 | 5129.2523 | 7792.1249 | 10281.9465 | 12604.1727 | 14764.282 | 16767.7423 | 18619.9826 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV of project 2 | 0
Pay back time
Project 4: add free cooling | Total actualised Savings € |  | Savings per year €/year |  | Saving %/year
Climate | 0
# years | -2006
Additional investment (€) | 0
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Years | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0
0
0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV of project 2 | 0
Pay back time
ProjecT 2: replacement with lower capacity chiller | Total actualised Savings € |  | Savings per year €/year |  | Saving %/year
Capacity reduction (%) | 0%
Existent system SEER or EER | 0 | Do you know the EER of the new equipment**? If unknown a default value can be obtained clicking here | 0
# years | -2006
Additional investment (€) | 0
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Years | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | [40 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | [40 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | [40 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[41 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV of project 2 | 0
0
Pay back time
Air Cooled chiller with FCU
Air Cooled chiller with AHU |  |  | a (Euro) | b(Euro/kW)
Air Cooled chiller with AHU (humidity control) |  | Air cooled non reversible non-ducted, basic screw or scroll chiller | 8000 | 100
Water Cooled chiller with FCU |  | Air cooled reversible, basic screw or scroll chiller | 8000 | 110
Water Cooled chiller with AHU |  | Water cooled, tower included, scroll, basic chiller | 8000 | 120
Water Cooled chiller with AHU (humidity control) |  | Groundwater cooled , scroll chiller | 12000 | 270
Multi Splits |  | Centrifugal chiller, over 700 kW | 8000 | 100
Outside water cooled chiller with FCU |  | VRF | 400 | 100 | 500
Outside water cooled chiller with AHU |  | Large Splits | 400 | 100 | 500
Outside water cooled chiller with AHU (humidity control) |  | Large Air Packages (RT…) with distribution | 300 | 200 | 500
Packaged |  | Split | 300 | 40 | 340
RAC |  | Multi Split | 300 | 100 | 400
Rooftops |  | RAC-Packaged (Air cooled) | 240 | 80 | 320
VRF |  | RAC-Packaged (Water cooled) | 140 | 20 | 160
Single Duct |  | Single Duct | 400 | 25 | 425
Small packages
Splits
Two loops with chiller (FCU)
None of this
The default value for lifetime is 20 years

## Calc_Invest (hidden)
Initial investment calculation
Costs valid for over 1000m²
Insert your system type (insert number as in the list below) | 1
Area m² | 0
Initial investment (€) | 120000
|  | Fix cost | Equipment | Installation
| Type | € | €/m² | €/m²
RAC without primary air
1 | Multi Split systems | 20000 | 75 | 25
2 | Packaged systems (under windows) | 0 | 60 | 20
3 | Single Duct | 0 | 100 | 10
RAC with primary air
4 | Multi Split systems | 30000 | 79 | 30
5 | Packaged systems (under windows) | 20000 | 64 | 25
CAC - Central Air Conditioners
6 | Large packages (Roof tops...) with all internal ducts | 10000 | 40 | 20
7 | Large splits without primary air | 10000 | 48 | 40
8 | Chiller + AHU, CAV Systems | 16000 | 50 | 110
9 | Chiller +AHU, VAV Systems | 16000 | 58 | 110
10 | Chiller + two-pipe FCU without primary air | 20000 | 50 | 50
11 | Chiller + two-pipe FCU & primary air | 30000 | 54 | 90
12 | Chiller + four-pipe FCU without primary air | 20000 | 54 | 50
13 | Chiller + four-pipeFCU & primary air | 30000 | 58 | 90
14 | Two Water Loops System without primary air | 20000 | 54 | 50
15 | Two Water Loops systems & primary air | 30000 | 58 | 90
16 | WLHP without primary air | 20000 | 35 | 5
17 | WLHP & primary air | 30000 | 40 | 45
18 | VRF without primary air | 10000 | 100 | 25
19 | VRF & primary air | 10000 | 104 | 65

## Calc_Energy (hidden)
Energy costs calculation |  |  | Water cost (€/m3) | 2
Climate | 0 |  | Electricity price (€/kWh) | 0.15
System | #N/A
Treated area (m²) | 0 | Wet tower condenser (y/n)? | 0
Total energy consumption (kWh/year) |  | Water consumption kg/year
Annual Electric cost for cooling €/year | 0 | Annual Water cost for cooling €/year | 0
Seville
System | T Cool kWh/m² | SEER | Compressor kWh/m² | Tower Pump kWh/m²
Air Cooled with air +humidity control | 118.47
Air Cooled with air distribution | 99.26
Air Cooled with water distribution | 75.91
Multi Splits | 58.52
Outside water + air dist | 100.75
Outside water + water dist | 73.9
Outside water +air +hum | 116.6
PACK& SPlarge | 58.52
RACs on one loop | 60.31
Roof tops | 94.33
Single Duct | 67.44
Small packages | 58.52
Splits | 58.52
TWO LOOPS + CHILLER | 73.94
VRF | 54.98
Water Cooled + water dist.(cooling) | 76.33 | 2.92 | 39.34 | 2.1
Water Cooled +air +hum.(cooling) | 117.54 | 2.15 | 53.45
Water Cooled with air dist.(cooling) | 100.19 | 2.8 | 41.12
London
System | T Cool kWh/m²
Air Cooled with air +humidity control | 37.9
Air Cooled with air distribution | 32.77
Air Cooled with water distribution | 19.23
Multi Splits | 8.39
Outside water + air dist | 32.6
Outside water + water dist | 18.98
Outside water +air +hum | 36.6
PACK&SPlarge | 8.39
RACs on one loop | 10.1
Roof tops | 30.09
Single Duct | 9.93
Small packages | 8.39
Splits | 8.39
TWO LOOPS + CHILLER | 16.93
VRF | 11.73
Water Cooled + water dist.(cooling) | 18.16 | 2.67 | 7.81 | 0.93
Water Cooled +air +hum.(cooling) | 36.29 | 2.14 | 9.74
Water Cooled with air dist.(cooling) | 31.78 | 2.78 | 7.49
Milano
System | T Cool kWh/m²
Air Cooled with air +humidity control | 83.45
Air Cooled with air distribution | 70.49
Air Cooled with water distribution | 45.35
Multi Splits | 28.53
Outside water + air dist | 69.66
Outside water + water dist | 45.69
Outside water +air +hum | 79.94
PACK&SPlarge | 28.53
RACs on one loop | 31.02
Roof tops | 66.59
Single Duct | 33.08
Small packages | 28.53
Splits | 28.53
TWO LOOPS + CHILLER | 46.73
VRF | 30.25
Water Cooled + water dist.(cooling) | 45.18 | 3.37 | 21.79 | 2.1
Water Cooled +air +hum.(cooling) | 81.09 | 2.28 | 32.29
Water Cooled with air dist.(cooling) | 69.64 | 2.96 | 24.84

## Traduction (hidden)
|  | Average EER values (from EECCAC) | Best market EER 2005
Air Cooled chiller with AHU | Air Cooled with air distribution | 1.8 | 4.3
Air Cooled chiller with AHU (humidity control) | Air Cooled with air +humidity control | 1.8 | 4.3
Air Cooled chiller with FCU | Air Cooled with water distribution | 1.8 | 4.3
Multi Splits | Multi Splits | 2.22 | 3.92
None of this |  | 0 | x
Outside water cooled chiller with AHU (humidity control) | Outside water +air +hum | 2.9 | 6.69
Outside water cooled chiller with AHU | Outside water + air dist | 2.9 | 6.69
Outside water cooled chiller with FCU | Outside water + water dist | 2.9 | 6.69
Packaged | PACK& SPlarge | 2.01 | 3.55
RAC | RACs on one loop | 2.2 | 5.51
Rooftops | Roof tops | 2.01 | 3.33
Single Duct | Single Duct | 1.8 | 3.248
Small packages | Small packages | 2.21 | 2.99
Splits | Splits | 2.21 | 4.08
Two loops chiller (FCU) | TWO LOOPS + CHILLER | 2.9 | 6.69
VRF | VRF | 2.7 | 4.05
Water Cooled chiller with AHU | Water Cooled with air dist.(cooling) | 2.9 | 6.69
Water Cooled chiller with AHU (humidity control) | Water Cooled +air +hum.(cooling) | 2.9 | 6.69
Water Cooled chiller with FCU | Water Cooled + water dist.(cooling) | 2.9 | 6.69